|  |  |
| --- | --- |
| Battery parameters | |
| Product Name | Lithium iron phosphate battery pack |
| Product Model | 15S2P - 32700A |
| Rated Capacity | 12Ah |
| BMS Working Current | 20A |
| Charging voltage | 54.8V |
| Discharge cutoff voltage | 40.5V |
| Size | 140X140X175mm |
| Weight | 5.7kg |
| Remark | Can be customized as required |